## Lotto 1
LOTTO 1 - FORNITURA DI STANDARD E CONSUMABILI PER LE ATTREZZATURE A MARCHIO "THERMO FISHER" IN DOTAZIONE AI LABORATORI CHIMICI DI CATANIA E PALERMO
Riga | Descrizione | Formato | Qtà richieste | Note | Prezzo unitario (IVA esclusa) | Prezzo totale per riga
1 | PEEK seals for sample cell end caps | Pkg. 50 | 2 |  |  | 0
2 | EXTERNAL O-RINGS FOR SAMPLE CELL END CAPS, TEFLON | Pkg. 50 | 2 |  |  | 0
3 | CELLULOSE FILTER ,27 mm | Pkg. 100 | 2 |  |  | 0
4 | CELLULOSE FILTER ,30 mm | Pkg. 100 | 2 |  |  | 0
5 | COLLECTION BOTTLES (CLEAR), 250 ML (INCLUDES LIDS AND SEPTA) | Pkg. 12 | 5 |  |  | 0
6 | COLLECTION VIALS (CLEAR), 60 ML (INCLUDES LIDS AND SEPTA) | Pkg. 72 | 2 |  |  | 0
7 | TEFLON/SILICONE LOW-BLEED SEPTA FOR COLLECTION BOTTLES. NOTE : THESE ARE HIGH- PURITY SEPTA FOR TRACE ANALISYS APPLICATIONS. | Pkg. 72 | 2 |  |  | 0
8 | Pelletized diatomaceous earth (DE) | 1 kg | 2 |  |  | 0
9 | PIERCE LTQ ESI NEGATIVE ION CAL SOLUTION | 10ML | 2 |  |  | 0
10 | PIERCE LTQ ESI POSITIVE ION CALIBRATION SOLUTION | 10ML | 2 |  |  | 0
11 | LTQ VELOS ESI POSITIVE ION CALIBRATION SOLUTION | 10ML | 4 |  |  | 0
12 | Ferrule Oro Trasferline | Pack of 5 | 2 |  |  | 0
13 | Setti | Pack of 50 | 2 |  |  | 0
14 | Gold Plate | Pack of 10 | 2 |  |  | 0
15 | Ferrule SSL | Pack of 10 | 2 |  |  | 0
16 | Liner SSL Splitless con Lana | Pack of 5 | 2 |  |  | 0
17 | Liner SSL Split con Lana | Pack of 5 | 2 |  |  | 0
18 | Ferrule PTV | Pack of 10 | 2 |  |  | 0
19 | Liner PTV Silcosteel | Pack of 2 | 2 |  |  | 0
20 | Liner PTV Baffle | Pack of 5 | 2 |  |  | 0
21 | Dual Filament | 1 pz | 2 |  |  | 0
22 | Sorgente EI | 1 pz | 2 |  |  | 0
23 | Olio Rotativa | 1L | 2 |  |  | 0
24 | Metal Needle | kit | 2 |  |  | 0
25 | Olio Evo700 | 2L | 2 |  |  | 0
26 | Ion Trasfer Tube | 1 pz | 2 |  |  | 0
27 | Spring Nut ISQ/TSQ | 1 pz | 2 |  |  | 0
28 | Siringhe Triplus HS 2,5ml | 1 pz | 2 |  |  | 0
29 | Siringhe Triplus AS 57mm | 1 pz | 2 |  |  | 0
30 | Siringhe Triplus AS 85mm | 1 pz | 2 |  |  | 0
31 | TG-DIOXIN GC COLUMN 60M X0.25MMX0.25ΜM | 1 pz | 2 |  |  | 0
32 | Soluzione tune per ICP-MS ICAP-TQ | 500 ml | 2 |  |  | 0
33 | Soluzione di calibrazione masse ICAP Q/Qnova | 250 ML | 2 |  |  | 0
34 | Cyclonic Spray Chambers | 1 pz | 2 |  |  | 0
35 | Skimmer Cone, Nickel, Insert-Version | 1 pz | 2 |  |  | 0
36 | ICP-MS Quartz Torch | 1 pz | 2 |  |  | 0
37 | TG-1301 MS GC COL 60M X0.25MMX0.25µm | 1 pz | 1 |  |  | 0
38 | TG-1701 MS GC COL 60M X0.25MMX0.25µm | 1 pz | 1 |  |  | 0
39 | Uniguard Direct-Connection Guard Cartridge Holders | 1 pz | 2 |  |  | 0
40 | Replacement Tips, Connection Guard Cartridge Holders | 1 pz | 4 |  |  | 0
41 | Liner GOLD Straight Liner, Wool, 4x6.3x78.5mm | Pack of 5 | 1 |  |  | 0
42 | Liner GOLD Precision Liner, Wool, 4x6.3x78.5mm | Pack of 5 | 2 |  |  | 0
43 | Liner GOLD Splitless Liner, Single Taper, Wool 4x6.5x78.5mm | Pack of 5 | 1 |  |  | 0
44 | Liner Sealing Ring for SSL | Pack of 5 | 2 |  |  | 0
45 | Spring-loaded transfer line nut for TSQ-GC system | 1 pz | 1 |  |  | 0
46 | BTO Septum 11 mm diameter | Pack of 50 | 1 |  |  | 0
47 | 10µl RSH FN GT Syringe 57mm Length 23sG | 1 pz | 4 |  |  | 0
48 | 10µl RSH FN GT Syringe 85mm Length 23sG | 1 pz | 2 |  |  | 0
49 | Ferrule, 15/85 Graphite/Vespel, 0.1-0.25 | Pack of 10 | 2 |  |  | 0
50 | Dual Filament TSQ Series | 1 pz | 1 |  |  | 0
51 | Gold plated inlet seals | Pack of 10 | 2 |  |  | 0