## Lotto 1
LOTTO 1 - FORNITURA DI STANDARD E CONSUMABILI PER LE ATTREZZATURE A MARCHIO "THERMO FISHER" IN DOTAZIONE AI LABORATORI CHIMICI DI CATANIA E PALERMO
Riga | Descrizione | Formato | Codice di riferimento | Qtà totali richieste | Destinazione
1 | PEEK seals for sample cell end caps | Pkg. 50 | 61687 | 2 | LABORATORIO CHIMICO DI PALERMO
2 | EXTERNAL O-RINGS FOR SAMPLE CELL END CAPS, TEFLON | Pkg. 50 | 49457 | 2
3 | CELLULOSE FILTER ,27 mm | Pkg. 100 | 68093 | 2
4 | CELLULOSE FILTER ,30 mm | Pkg. 100 | 56780 | 2
5 | COLLECTION BOTTLES (CLEAR), 250 ML (INCLUDES LIDS AND SEPTA) | Pkg. 12 | 56284 | 5
6 | COLLECTION VIALS (CLEAR), 60 ML (INCLUDES LIDS AND SEPTA) | Pkg. 72 | 48784 | 2
7 | TEFLON/SILICONE LOW-BLEED SEPTA FOR COLLECTION BOTTLES. NOTE : THESE ARE HIGH- PURITY SEPTA FOR TRACE ANALISYS APPLICATIONS. | Pkg. 72 | 55395 | 2
8 | Pelletized diatomaceous earth (DE) | 1 kg | 62819 | 2
9 | PIERCE LTQ ESI NEGATIVE ION CAL SOLUTION | 10ML | 88324 | 2
10 | PIERCE LTQ ESI POSITIVE ION CALIBRATION SOLUTION | 10ML | 88322 | 2
11 | LTQ VELOS ESI POSITIVE ION CALIBRATION SOLUTION | 10ML | 88323 | 4
12 | Ferrule Oro Trasferline | Pack of 5 | 290VT221 | 2
13 | Setti | Pack of 50 | 31303233 | 2
14 | Gold Plate | Pack of 10 | 290GA081 | 2
15 | Ferrule SSL | Pack of 10 | 290VA191 | 2
16 | Liner SSL Splitless con Lana | Pack of 5 | 453A1925-UI | 2
17 | Liner SSL Split con Lana | Pack of 5 | 453A2265-UI | 2
18 | Ferrule PTV | Pack of 10 | 29053488 | 2
19 | Liner PTV Silcosteel | Pack of 2 | 45322044 | 2
20 | Liner PTV Baffle | Pack of 5 | 453T2120 | 2
21 | Dual Filament | 1 pz | 1R120404-1940 | 2
22 | Sorgente EI | 1 pz | 1R120404-4100 | 2
23 | Olio Rotativa | 1L | 00301-15101 | 2
24 | Metal Needle | kit | OPTON-53010 | 2
25 | Olio Evo700 | 2L | BRE0019927 | 2
26 | Ion Trasfer Tube | 1 pz | 70005-20606 | 2
27 | Spring Nut ISQ/TSQ | 1 pz | 1R120434-0010 | 2
28 | Siringhe Triplus HS 2,5ml | 1 pz | 365Q2131 | 2
29 | Siringhe Triplus AS 57mm | 1 pz | 365D0311 | 2
30 | Siringhe Triplus AS 85mm | 1 pz | 365D0301 | 2
31 | TG-DIOXIN GC COLUMN 60M X0.25MMX0.25ΜM | 1 pz | 26066-1540 | 2
32 | Soluzione tune per ICP-MS ICAP-TQ | 500 ml | BRE0009578 | 2
33 | Soluzione di calibrazione masse ICAP Q/Qnova | 250 ML | 1323760 | 2
34 | Cyclonic Spray Chambers | 1 pz | 1317080 | 2
35 | Skimmer Cone, Nickel, Insert-Version | 1 pz | 1311870 | 2
36 | ICP-MS Quartz Torch | 1 pz | 1230790 | 2
37 | TG-1301 MS GC COL 60M X0.25MMX0.25µm | 1 pz | 26091-1540 | 1
38 | TG-1701 MS GC COL 60M X0.25MMX0.25µm | 1 pz | 26090-1540 | 1
39 | Uniguard Direct-Connection Guard Cartridge Holders | 1 pz | 850-00 | 2 | LABORATORIO CHIMICO DI CATANIA
40 | Replacement Tips, Connection Guard Cartridge Holders | 1 pz | 850-RT | 4
41 | Liner GOLD Straight Liner, Wool, 4x6.3x78.5mm | Pack of 5 | 453A2265-UI | 1
42 | Liner GOLD Precision Liner, Wool, 4x6.3x78.5mm | Pack of 5 | 453A1255-UI | 2
43 | Liner GOLD Splitless Liner, Single Taper, Wool 4x6.5x78.5mm | Pack of 5 | 453A1925-UI | 1
44 | Liner Sealing Ring for SSL | Pack of 5 | 29001320 | 2
45 | Spring-loaded transfer line nut for TSQ-GC system | 1 pz | 1R120434-0010 | 1
46 | BTO Septum 11 mm diameter | Pack of 50 | 31303233-BP | 1
47 | 10µl RSH FN GT Syringe 57mm Length 23sG | 1 pz | 365D0311 | 4
48 | 10µl RSH FN GT Syringe 85mm Length 23sG | 1 pz | 365D0301 | 2
49 | Ferrule, 15/85 Graphite/Vespel, 0.1-0.25 | Pack of 10 | 290VA191 | 2
50 | Dual Filament TSQ Series | 1 pz | 1R120404-1940 | 1
51 | Gold plated inlet seals | Pack of 10 | 290GA081 | 2